## RoomAreas
StellerVista Slocan Park — Class C quantity seed (from A-7 finish schedule)
Room | Area (SF) | Floor type | Floor product | Wall paint | Ceiling notes | Site verified? (Y/N) | Notes
BANK LOBBY | 583 | Tile | Centura Oudh | BM White Dove | Bone drywall ceiling
OFFICE | 624 | Carpet | Mohawk Shape & Flow Flux Foundation | BM White Dove | ACT + lights
INSURANCE | 282 | Carpet | Mohawk | BM White Dove | ACT + lights
HALL | 150 | Carpet | Mohawk | BM White Dove | ACT + lights
ENTRY | 109 | Tile | Centura Oudh | BM White Dove | Bone drywall 10'-0" bulkhead area
SUPERVISOR OFFICE | 112 | Carpet | Mohawk | BM White Dove | ACT + lights
FSR OFFICE | 97 | Carpet | Mohawk | BM White Dove | ACT + lights
VAULT | 97 | VCT | Tarkett 873 Daylight BC | TBD walls | Bone drywall
SPARE OFFICE | 99 | Carpet | Mohawk | BM White Dove | ACT + lights
INSURANCE OFFICE 1 | 95 | Carpet | Mohawk | BM White Dove | ACT + lights
INSURANCE OFFICE 2 | 86 | Carpet | Mohawk | BM White Dove | ACT + lights
INSURANCE STORAGE | 72 | Carpet | Mohawk | BM White Dove | ACT + lights
LUNCH | 70 | Carpet+foam | Mohawk | BM White Dove | ACT + lights
ATM | 66 | VCT | Tarkett 873 | BM White Dove | ACT + lights
COUPON BOOTH | 26 | Carpet+foam | Mohawk | BM White Dove | ACT + lights
KITCHEN | 46 | Tile | Centura Oudh | BM White Dove | ACT + lights
STORAGE | 46 | Carpet | Mohawk | BM White Dove | ACT + lights
WR (1) | 46 | VCT | Tarkett 873 | BM White Dove | ACT + lights
WR (2) | 31 | VCT | Tarkett 873 | BM White Dove | Bone drywall
JANITOR | 42 | VCT | Tarkett 873 | BM White Dove | ACT + lights
SERVER | 15 | Tile+foam | Centura Oudh | — | ACT + lights
CLOSET | 13 | Carpet+foam | Mohawk | BM White Dove | ACT + lights
LOBBY (small) | 5 | Tile | Centura Oudh | BM White Dove | Bone drywall
TOTAL (schedule) | 2812
Drawing refs: Summit CAD set 2026-08-12, Rev 1 SUBMIT FOR PRICING. A-3 scope narrative items 1–10.
Reconcile: A-3 shows ~2530 SF building area label; A-7 room total = 2812 SF — confirm on site.

## Scope_A3
Scope of work (A-3 narrative)
# | Description | Qty / measure | Unit | Unit $ | Subtotal $ | Class C basis / assumption | Site notes
1 | Paint WRs + back hallway; new Arborite WR counters; paint doors/trim (leave vinyl/floor except hall + lunch); new lunch counter |  |  |  |  | Allowance or measured on site
2 | New ACT + lights throughout; paint bulkhead/ceiling in lobby |  |  |  |  | Allowance or measured on site
3 | Wallpaper removal/update (most building except some offices) — verify field |  |  |  |  | Allowance or measured on site
4 | Back cabinets (co-op wall): paint uppers/lowers + new counter |  |  |  |  | Allowance or measured on site
5 | Paint all oak trim + doors |  |  |  |  | Allowance or measured on site
6 | New tile + carpet throughout per finish schedule |  |  |  |  | Allowance or measured on site
7 | Paint Arborite at safety deposit booth |  |  |  |  | Allowance or measured on site
8 | New insurance office ~9'-0" wide to counter end at insurance wall — partition/demo |  |  |  |  | Allowance or measured on site
9 | New furniture — allowance / vendor quote |  |  |  |  | Allowance or measured on site
10 | New window film — LF or allowance |  |  |  |  | Allowance or measured on site

## SiteVisit
Site visit checklist — 2026-10-14
Item | Done? | Findings
1. Confirm room names/areas match A-7 (especially INSURANCE vs offices, lobby zones)
2. Measure insurance office scope item 8 — existing partition, counter, power/data
3. Wall finish: wallpaper vs painted drywall by room (scope item 3)
4. Ceiling: ACT grid condition, lobby bulkhead/drywall vs ACT, light fixture count/type
5. Floors: what stays vs full rip-out (scope says new throughout; note transitions)
6. WR fixtures, counters, accessories — count for Arborite + paint
7. Oak doors/trim — count LF doors, frames, base, chair rail
8. Back wall cabinets facing co-op — linear feet, counter depth
9. Vault / ATM / teller line — any work outside finish schedule
10. After-hours / security / branch operating constraints for phasing $
11. HVAC impact from ceiling work? (no mech drawings in set)
12. Electrical: relight only vs circuit changes — flag for sub quote
13. Window film — count panes / SF glazing
14. Furniture scope — workstations, teller, insurance — HG/StellerVista standard?
15. Photo: each room + ceiling + typical door/trim + co-op cabinets

## ClassC_Summary
Class C estimate summary — fill unit costs after supplier quotes
CSI | Division | Basis | Amount $ (ex GST)
01 | General requirements | GC, supervision, temp protection, cleanup, permits/fees allowance
02 | Existing conditions | Wallpaper strip, minor demo, insurance office partition
09 | Finishes | Paint, ACT, carpet, tile, Arborite counters, trim paint
06 | Millwork & casework | Link from Millwork_ITB subtotal
10 | Specialties | Window film
12 | Furnishings | Furniture allowance
26 | Electrical | Relighting / ceiling grid integration allowance
Contingency | Class C design contingency (typ. 15–20% interior TI)
SUBTOTAL
| GST | 5%
TOTAL

## Millwork_ITB
Millwork & cabinets — per Invitation to Bid §2 (verify vs A-3 item 4 on site)
ITB line / element | Source | Qty | Unit | Waste % | Qty w/ waste | Unit $ | Subtotal $ | SVCU $ | HG $ | Drawing / site notes | Replace vs refinish?
Demo — remove existing millwork (allowance) | ITB §2 |  | LS | 0 | [5 empty] | Scope all areas with millwork
Co-op wall — upper/lower cabinets | ITB §2 |  | LF | 5 | [5 empty] | A-3: paint + new counter only | Site
Co-op wall — countertop (new) | ITB §2 |  | LF | 5 | [5 empty] | Arborite/lam per ITB
Teller line — new millwork | ITB §2 |  | LF | 5 | [5 empty] | Not on A-3 narrative | New
Back wall counter facing Co-op — new | ITB §2 |  | LF | 5 | [6 empty] | New
Insurance island — new millwork | ITB §2 |  | LF | 5 | [5 empty] | Relates to insurance office scope | New
Self-serve counter | ITB §2 |  | EA | 0 | [6 empty] | New
Coffee area millwork | ITB §2 |  | LF | 5 | [6 empty] | New
Safe deposit / coupon booth millwork | ITB §2 |  | EA | 0 | [5 empty] | A-3 item 7: paint Arborite booth | Site
WR counters — Arborite laminate | ITB §2 |  | EA | 0 | [5 empty] | Count WRs on plan
Lunchroom countertop — Arborite | ITB §2 |  | LF | 5 | [5 empty] | A-3 item 1
Design & shop drawings (if by contractor) | ITB §2 |  | LS | 0 | [5 empty] | ITB excludes design services from Owner — confirm who designs
Install labour — millwork package | ITB §2 |  | LS | 0 | [5 empty] | Or % of material
MILLWORK SUBTOTAL